## Slide 1: Photoplethysmography in a minute (and a bit)
Peter H. Charlton
Peter Charlton, Wikimedia Commons, https://commons.wikimedia.org/wiki/File:Max_Health_Band.jpg (CC BY 4.0)
https://doi.org/10.5281/zenodo.6193071
Notes: An introduction to photoplethysmography, in a minute.

## Slide 2
pulses due to heart beats
breathing
Crew, Wikimedia Commons, https://commons.wikimedia.org/wiki/File:Apple_Watch_user_(Unsplash).jpg (CC0 1.0)
PPG
80
bpm
Time (s)
Arrhythmia
Normal
rhythm
Photoplethysmogram
(PPG)
?
bpm
M. Verch, flickr, https://flickr.com/photos/160866001@N07/32586534637/ (CC BY 2.0)
Stefan Bellini, Wikimedia Commons, https://commons.wikimedia.org/wiki/File:Pulox_Pulse_Oximeter.JPG (CC0 1.0)
https://doi.org/10.5281/zenodo.6193071
Notes: The photoplethysmogram [click], or PPG, is widely measured by clinical devices such as [click] pulse oximeters, and consumer devices such as fitness trackers, smartwatches, and smart rings.
It exhibits a pulse wave for each heart beat [click], and so is used to monitor heart rate.
It can also be used to provide insights into heart rhythm, [click] as the beat-to-beat intervals can be used to [click] distinguish between a normal regular rhythm, and an abnormal, irregular rhythm.
The shape [click] of individual pulse waves contains information on the heart and blood vessels, with marked differences between young and elderly subjects.
There are also slower fluctuations [click] which can be used to monitor breathing. Of course, there are great challenges to analysing the PPG, [click] including handling motion artifact.
The use of photoplethysmography in wearables presents opportunities to monitor health in daily life, including:
(i) [click] identifying atrial fibrillation, an arrhythmia which increases the risk of stroke;
(ii) [click] assessing blood pressure and vascular health; and
(iii) monitoring breathing, a key marker of clinical deterioration.

## Slide 3: Photoplethysmography in a minute (and a bit)
Peter H. Charlton
Charlton P.H. et al., Wearable photoplethysmography for cardiovascular monitoring,
Proceedings of the IEEE, 2022, https://doi.org/10.1109/JPROC.2022.3149785
https://peterhcharlton.github.io/
https://doi.org/10.5281/zenodo.6193071
Notes: Of course, you can’t do justice to the potential of photoplethysmography in just a minute. For more information see [click] my website, and [click] our review of wearable photoplethysmography for cardiovascular monitoring.