## Slide 1
Metrology for Drug Delivery II: a new joint research project for metrology in healthcare
E. Batista, A. Furtado, J. Pereira, M. Ferreira, H. Bissig, E. Graham, A. Niemann, A. Timmerman, F. Ogheard, J. Alves e Sousa

## Slide 2
Project description
Consortium
Overview
Needs and motivation
Work packages
Impact
Resume

## Slide 3: EMPIR – MeDDII – 18HLT08
Call: 2018 Health
JRP name: Metrology for drug delivery
JRP reference: 18HLT08 MeDDII
Total budget: ~ 1,7 M€
Total labour: ~200 MM
Duration: 36 months
Start date: June 2019
Coordinating Organisation: IPQ
Partners - 9 NMIs/DIs, 4 universities, 2 manufacturers. 11 countries
Colaborators - 30

## Slide 4: Consortium

## Slide 5: Overview
This project aims to characterize and improve dosing accuracy of existing drug delivery devices and multi infusion systems and enable traceable measurements of their volume, flow rate, pressure and inline sensing operation at very low infusion rates:
  by the development of new calibration methods
  by expanding the existing metrological infrastructure

## Slide 6: Overview
Additionally this project will investigate:
  the effects of fast transient flows on dosing response
  the physical properties of liquid mixtures used in infusion
  the occlusion phenomena in multi-infusion systems
  development of a new micropump

## Slide 7: Needs and motivation
Infusion therapy → Main form of therapy in health care.
Deviations in medication dose into the patient bloodstream have dramatic effects.
Wide range of applications (vasoactive drugs, multi-infusion therapy, pre-term babies therapy, organ-on-a-chip technology, etc.).
Validated metrological infrastructure for traceable measurement and calibration
volume
ultra-low flow rates (< 100 nL.min-1)
pressure
fast changing flow rate
physical properties of mixtures
occlusion phenomena
Crucial for patient safety and to advances in:
microfluidics and organ-on-a-chip faithfull reproduction of multi-organ functions
reproducibility and accuracy of multi-infusion therapies
reliability of drug delivery devices

## Slide 8: Work Packages
Development of metrology infrastructure for ultra-low flow rates
Upgrade existing flow facilities and/or develop new techniques for measurement of flow rates down to 5 nL.min-1 for steady and fast transient flows.
Establish robust and realistic uncertainty budgets. Target uncertainties at 1 % (k = 2) for steady flows and 2 % (k = 2) for fast transient flows.
Validate primary standards, needed for the characterization of drug delivery devices and multi infusion systems.
WP1 OBJECTIVE 1

## Slide 9: Work Packages
In-line measurement of physical and thermodynamic properties
Upgrade the existing flow facilities of the participant NMIs in order to enable traceable inline measurement of the dynamic viscosity of Newtonian liquids, as a function of the flow rate and pressure difference, with a target uncertainty value of 2 % (k=2).
Characterize flow devices for in-line measurements of physical and thermodynamic properties. These properties are needed to determine the proportion of components of a mixture of liquids.
WP2 OBJECTIVE 2

## Slide 10: Work Packages
Development of a microchip pump and new calibration procedures of
existing medical devices
Identify the metrology infrastructure for drug delivery devices and multi infusion systems.
Develop and validate calibration procedures for drug delivery devices and on-chip flow micropump demonstrator.
Fabricate and characterize a novel on-chip flow micropump as a transfer standard.
WP3 OBJECTIVE 3

## Slide 11: Work Packages
Design and characterization of a multi-infusion system
Develop multi-infusion setups to investigate mixing and drug concentration at the patient’s point of medication entry.
Extend and validate a predictive model for multi-infusions.
Develop a Best Practice Guide providing methodologies to build/assemble/use multi-infusion set-ups to guarantee the most effective dosing of drugs and fluids to the patient.
WP4 OBJECTIVE 4

## Slide 12: IMPACT
  Draft new calibration procedures and guides of drug delivery devices and multi infusion systems
New guidance documents
Input for the revision of reference documents
  Promote Knowledge transfer and exchange with International Standards Committees.
    ISO 60601-2-24
    ISO 7886-2
    New OIML documents
    ISO 8655-9

## Slide 13: IMPACT
Kick off meeting 1 and 2 of July 2019
  Understand the behaviour of multi-infusion systems and increase user knowledge to prevent drug dosing errors.
  Develop new traceable calibration methods for infusion flow rates as low as 5 nL.min-1

## Slide 14
THANK YOU
Elsa Batista
ebatista@ipq.pt
+351212948167
www.drugmetrology.com