## Slide 1: Multi-lidar observations of Vestas multi-rotor turbine wake
N. Vasiljevića, K. H. Sørensenb, P. Santosa and G. Larsena
[a] DTU Wind Energy, [b] Vestas Wind System A/S
Wind Energy Science Conference CORK
17 – 20 June 2019
DOI: 10.5281/zenodo.3250401

## Slide 2: Vestas multi-rotor wind turbine
Source: https://www.wind-energ-sci.net/4/251/2019/ (M. P. van der Laan et al. 2019)

## Slide 3: First experiment: M. P. van der Laan et al. 2019
Short-range WindScanner system
Multi-rotor wind turbine

## Slide 4: Second experiment
Long-range WindScanner system (N. Vasiljevic et al. 2016)
Multi-rotor wind turbine

## Slide 5: Focus of second experiment
Wake geometry, deficit, and propagation
Especially wake decay and wind field recovery speed
We are looking at a far wake scenario (beyond 2.75 D >= 165 m)
Create high quality database of the multi-rotor wake measurements
First multi-rotor wake experiment done using short-range WindScanners: https://www.wind-energ-sci.net/4/251/2019/
This one was done using long-range WindScanners

## Slide 6: Experiment description
287°
WS1
WS2
M15
WS – long-range WindScanners
M15 – 15m mast
M80 – 80m mast
V52 – V52 wind turbine
Multi-rotor – multi-rotor wind turbine
M80
V52
Multi-rotor
Location: Risø campus, Denmark
Measurements started: 2018/08/13
Measurements stopped: 2018/11/13
Total: 92 campaign days

## Slide 7: Experiment description continued…
287°
.75 D = 45 m
1.00 D = 60 m
1.50 D = 90 m
2.00 D = 120 m
2.75 D = 165 m
3.00 D = 180 m
4.00 D = 240 m
WS1
WS2

## Slide 8: Experiment description continued…
287°
2.75 D = 165 m
WS1
WS2
M
The center of attention:
A plan at 2.75 D from the multi-rotor turbine

## Slide 9: Experiment description continued…
287°
2.75 D = 165 m
WS1
WS2
M
WS1
WS2
287°
500 m
200 m

## Slide 10: Scanned plain
10 m agl
20 m agl
30 m agl
40 m agl
50 m agl
60 m agl
70 m agl
80 m agl
90 m agl
200 m
80 m
Should be able to capture wake if wind direction is between 260° to 310°

## Slide 11: Scanned plain – side view
165 m
10 m
20 m
30 m
40 m
50 m
60 m
70 m
80 m
90 m
wake

## Slide 12: Turning pulsed lidar into ‘CW’ alike
Laser beam focused close to the plain of interest

## Slide 13: Why did we do that?
Beam focused around 200m
This allows 5 times higher measurement frequency (i.e. 5 Hz)
9 transects scanned of 200 m in length
Each transect completed in 4 s
Accumulation time 0.2 s
Transverse resolution = (200 / 4) * 0.2= 10 m = > i.e. every 10 m along a transect there is one measurement
Probe length 35 m (200 ns laser pulse) = longitudinal resolution
Measurement range from 50 m to 500 m
Along each LOS we acquire radial velocity every 5 m (91 range gate)
Total measurement points per one full scan: 2 WindScanners * 9 Transects * 20 LOS per Transect * 91 range gate per LOS = 32 760
During 10 min period 9 transects scanned 13 to 14 times

## Slide 14
Data analysis workflow
Select 10/30 min period
Filter on CNR (>-27 db)
Average data
Interpolate data on regular grid
Reconstruct 2D wind field

## Slide 15: Preliminary WindScanner data status
Processed 42 out of 92 days
Mean WindScanner data availability ~ 70 %
2727 periods processed (all 42 days!)
One period can last between 10 to 30 minutes
380 out of 2727 periods when multi-rotor wake is captured
268 out of 2727 periods when V52 wake is captured - out of this 268 there are periods when we have both V52 and multi-wake captured simultaneously
Max total of 648 periods when wakes are captured (~140 hours)

## Slide 16: Examples: 23/09/2018 from 12:30 to 12:40 UTC

## Slide 17: Examples: 23/09/2018 from 12:30 to 12:40 UTC
420 m

## Slide 18: Examples: 15/08/2018 from 01:20 to 01:30 UTC

## Slide 19: Examples: 14/08/2018 from 11:00 to 11:10 UTC

## Slide 20: Examples: 15/09/2018 from 10:50 to 11:00 UTC
Wake deflection of the V52 research turbine

## Slide 21: Future work
Analyze remaining 50 days of campaign
Finish building data catalogue
Convert the processed data in NetCDF format
We are considering a three-part paper: part 1: campaign and data overview part 2: data analysis results and selection of cases for simulation studies part 3: simulation of cases and comparison with measurements

## Slide 22: Thank you for your attention Questions?
niva@dtu.dk