## Slide 1: VIRADEP

## Slide 2: CMV
Acquisition conditions Raman DXi:
Laser: λ = 532 nm @ 10 mW
Exposure time = 60 s
DEP cell: 5 V @ 15 MHz
Objective: 60x WI 1.1 NA
Aggregation time: circa 5 min

## Slide 3: CMV
Foglie controllo senza virus
(probabile segnale RuBisCO)
Trp
νCO2sym
1393
Si sono riscontrati due tipi di segnali Raman diversi che chiameremo: tipo 1 e tipo 2

## Slide 4
Controllo tipo 1
νCH2
Protein
Tyr, Trp, Phe
νCO2sym
Amide III
νC-N
νC-C
νS-S
Protein, Phe
Protein
δCH2/CH3
νC-S
Tyr, Phe
Trp
Amide I

## Slide 5
Controllo tipo 2
δCH2/CH3
νCH2
Tyr, Trp, Phe
Trp
Amide III
νC-N
νC-C
νC-S
Protein, Phe
Protein, Trp
Amide I
Tyr, Phe
Phe
Tyr, Phe
P

## Slide 6
virus
Foglie controllo senza virus
(probabile segnale RuBisCO)
δCH2/CH3
νCH2
1450

## Slide 7: TMV
Acquisition conditions Raman DXi:
Laser: λ = 532 nm @ 10 mW
Exposure time = 60 s
DEP cell: 5 V @ 15 MHz
Objective: 60x WI 1.1 NA
Aggregation time: circa 5 min

## Slide 8: TMV analisi 1
νCH2
Trp
Protein, RNA (A,G),Trp
νCH
Amide III, Tyr, Phe
νS-S
Phe
Trp, RNA (C)
δCH2/CH3
Amide I

## Slide 9
TMV analisi 2
νCH2
Trp
Protein, RNA (A,G),Trp
νCH
Amide III, Tyr, Phe
νS-S
Phe
Trp, RNA (C)
Amide I
νC-C
Protein, Trp

## Slide 10
δCH2/CH3
νCH2
1450

## Slide 11
Foglie controllo senza virus
(Probabile segnale RuBisCO)
virus
Virus e ctrl
solo ctrl
solo virus
Diversa intensità
νCH2
Tyr, Trp, Phe
νS-S
Phe
Trp, RNA (C)
δCH2/CH3
Amide I
1660-1680
1606
1450
1480
1335
νCH
A,G
1004
Amide III, Tyr, Phe
νC-C
Protein, Trp
759
569
Protein, RNA (A,G),Trp
890
νC-S
705
νS-S
490
Tyr, Phe
Legenda

## Slide 12: OSSERVAZIONI
Gli spettri delle foglie controllo (senza virus) hanno dato due tipi di segnali Raman diversi (tipo 1 e tipo 2) che differiscono nella forma del segnale dei CH (verso i 3000 cm-1) e per la presenza nel tipo 1 di un picco (1393 cm-1) corrispondente al Triptofano
In letteratura non ho trovato alcuno spettro Raman del RuBisCO
Il CMV è risultato più difficile da aggregare ed ha dato segnali molto bassi (solo i segnali dei CH sono chiaramente visibili)
Il TMV ha presentato strutture simili a quelle presenti negli spettri dei controlli per quanto riguarda la presenza di amminoacidi ma diversi rapporti di intensità delle bande.
Solo nel virus sono visibili segnali corrispondenti a RNA e basi azotate e non nei controlli.

## Slide 13: TSWV
Acquisition conditions Raman DXi:
Laser: λ = 532 nm @ 3 mW
Exposure time = 60 s
DEP cell: 5 V @ 15 MHz
Objective: 60x WI 1.1 NA
Aggregation time: circa 5 min

## Slide 14: TSWV
450
610
Phe?
1100
Phe?
DEP
secco

## Slide 15
entrambi
solo TSWV
solo TMV
Legenda
TSWV
TMV
νCH2
Tyr, Trp, Phe
νS-S
Phe
Trp, RNA (C)
δCH2/CH3
Amide I
1660-1680
1606
1450
1335
νCH
1004
759
569
Protein, RNA (A,G),Trp
νS-S
450
νS-S
610
Tyr, Phe
Phe
3060
2950
2905
2880
2930
2840
2722
1555
1220
1165-1157
1039
975
844-811
533
1363
170
105
lipids
νCH
arom
Amide III
Trp
Trp
Trp
νCN
Tyr, ribose
νS-S
Tyr, P
lipids

## Slide 16: TYLCSV
Acquisition conditions Raman DXi:
Laser: λ = 532 nm @ 10 mW
Exposure time = 60 s
DEP cell: 5 V @ 15 MHz
Objective: 60x WI 1.1 NA
Aggregation time: circa 5 min

## Slide 17: TYLCSV
Contaminations found with virus
Found multiple times, always the same signals
corresponding to TiO2 (anatase)
Raman intensity (cps)
638
519
400
144

## Slide 18: TYLCSV
Type 2
νCH2
Tyr, Trp, Phe
Phe
Trp, RNA (C)
δCH2/CH3
Amide I
1660-1680
1606
1450
1335
νCH
1004
759
Protein, RNA(A,G)
3060
1039
975
νCH
arom
Trp
Tyr, ribose
Type 1
1295
Amide III

## Slide 19
TSWV (reprise)

## Slide 20: TSWV (2021)
450
610
Phe?
1100
Phe?
DEP
secco

## Slide 22: TSWV (2022)
Secco
Campione 6
DEP
Campione 6
DEP
Campione 6

## Slide 23: TSWV (2022)
Secco
Campione 5
DEP
Campione 5
Secco
Campione 5
Library
Calcium carbonate

## Slide 24: TSWV (2022)
Secco
Campione 5
Secco
TSWV (2021)

## Slide 25: ToMV
Acquisition conditions Raman DXi:
Laser: λ = 532 nm @ 10 mW
Exposure time = 60 s
DEP cell: 5 V @ 15 MHz
Objective: 60x WI 1.1 NA
Aggregation time: circa 5 min

## Slide 26: ToMV
639
400
144
519
Contaminations found with virus
Found multiple times, always the same signals
corresponding to TiO2 (anatase)

## Slide 27: ToMV
νCH2
Tyr, Trp, Phe
Phe
Trp, RNA (C)
δCH2/CH3
Amide I
νCH
Protein, RNA(A,G)
Trp
Tyr, ribose
Amide III
Tyr, Phe

## Slide 28: CMV reprise

## Slide 29: CMV (2022) DEP

## Slide 30: CMV (2022) secco banda alta

## Slide 31: CMV (2022) secco banda bassa

## Slide 32: CMV (2022) secco banda alta  goccioline nella parte alta della goccia secca (acido stearico o methyl octadecanoate)

## Slide 33: Quartz contamination

## Slide 34: Summary of the analyzed viruses

## Slide 36
νCH2
Tyr, Trp, Phe
Trp, RNA (C)
Amide I
νCH
Protein, RNA(A,G)
Amide III
Trp
νCN
Phe
Tyr, ribose
νC-C
Protein, Trp
Tyr, P
Trp
Tyr, Phe
νS-S

## Slide 37: Bibliografia assegnazione bande
Raman to the limit: tip-enhanced Raman spectroscopic investigations of a single tobacco mosaic virus
Dana Cialla,Tanja Deckert-Gaudig,Christian Budich,Michael Laue,Robert Möller,Dieter Naumann,Volker Deckert,Jürgen Popp,
Studies of Virus Structure by Laser-Raman Spectroscopy. 3. Turnip Yellow Mosaic Virus T. A. Turano, K. A. Hartman,*
The study of Turnip Mosaic virus coat protein by surface enhanced Raman spectroscopy HONGYING DENG* and QIZHI HE Department of Virology and Molecular Biology, Wuhan University, Wuhan, 430072, China